## MyWorkSheet-1
Accession number | Paziente | Sesso | Data di Nascita | Esame | DAP | Unità Misura DAP | Tempo di esposizione | Unità Misura Tempo di esposizione | Dose alla Cute Massima | Angolazione primaria tubo (LL) | Unità Misura angolazione primaria | Angolazione secondaria tubo (AP) | Unità Misura dimensione macchia focale | Unità Misura angolazione secondaria | Kerma in Aria | Unità Misura Kerma in Aria | KVP | Unità Misura KVP | Deviation Index | Exposure Index | Target Exposure Index | Rateo di pulsazione | Unità Misura rateo di pulsazione | Posizione laterale del tavolo | Piano di acquisizione | Protocollo di acquisizione | Numero di pulsazioni | Tipo evento irradiazione | Dimensione della macchia focale | Altezza del tavolo | Corrente al tubo | Unità Misura corrente al tubo | Distanza sorgente-isocentro | Unità Misura distanza sorgente-isocentro | Modalità fluoroscopica | Larghezza della pulsazione | Unità Misura larghezza pulsazioni | Posizione longitudinale tavolo | Distanza sorgente-detettore | Spessore massimo del filtro | Spessore minimo del filtro | Unità Misura spessore filtro | Materiale del filtro | Tipo di filtro | Modalità
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.09 | Gy*cm2 | 68 | ms | - | -27.5 | deg | 0.2 | mm | deg | 0.000791 | Gy | 90.2 | kV | - | - | - | 8 | pulse_s | 15.2 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 8 | Fluoroscopy | 0.6 | 156.5 | 92 | mA | 720 | mm | Pulsed | 8.51 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.83 | Gy*cm2 | 833 | ms | - | 0.1 | deg | 0.3 | mm | deg | 0.006055 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 25 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 101 | Fluoroscopy | 0.6 | 156.5 | 71 | mA | 720 | mm | Pulsed | 8.25 | ms | 716.3 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.68 | Gy*cm2 | 790 | ms | - | 0.1 | deg | 0.3 | mm | deg | 0.006151 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 25 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 95 | Fluoroscopy | 0.6 | 156.5 | 72 | mA | 720 | mm | Pulsed | 8.33 | ms | 716.4 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.19 | Gy*cm2 | 293 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.001698 | Gy | 88.8 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 26 | Fluoroscopy | 0.6 | 156.5 | 88 | mA | 720 | mm | Pulsed | 11.29 | ms | 721.9 | 1072 | 0.3 | 0.3 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.43 | Gy*cm2 | 351 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.003969 | Gy | 89.4 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 40 | Fluoroscopy | 0.6 | 156.5 | 90 | mA | 720 | mm | Pulsed | 8.78 | ms | 721.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.5 | Gy*cm2 | 407 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.004582 | Gy | 90.3 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 46 | Fluoroscopy | 0.6 | 156.5 | 87 | mA | 720 | mm | Pulsed | 8.86 | ms | 721.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.68 | Gy*cm2 | 550 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.006223 | Gy | 89.8 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 62 | Fluoroscopy | 0.6 | 156.5 | 88 | mA | 720 | mm | Pulsed | 8.89 | ms | 721.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.89 | Gy*cm2 | 727 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.008178 | Gy | 90.5 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 82 | Fluoroscopy | 0.6 | 156.5 | 88 | mA | 720 | mm | Pulsed | 8.87 | ms | 721.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.69 | Gy*cm2 | 1404 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.015507 | Gy | 89.9 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 158 | Fluoroscopy | 0.6 | 156.5 | 86 | mA | 720 | mm | Pulsed | 8.89 | ms | 721.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 3.54 | Gy*cm2 | 2907 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.032412 | Gy | 90.1 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 326 | Fluoroscopy | 0.6 | 156.5 | 87 | mA | 720 | mm | Pulsed | 8.92 | ms | 721.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 3.7 | Gy*cm2 | 5961 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.033902 | Gy | 89.3 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 522 | Fluoroscopy | 0.6 | 156.5 | 86 | mA | 720 | mm | Pulsed | 11.42 | ms | 721.9 | 1072 | 0.3 | 0.3 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 9.17 | Gy*cm2 | 7464 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.083981 | Gy | 90 | kV | - | - | - | 8 | pulse_s | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 834 | Fluoroscopy | 0.6 | 156.5 | 87 | mA | 720 | mm | Pulsed | 8.95 | ms | 721.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.04 | Gy*cm2 | 39 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.000342 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 5 | Fluoroscopy | 0.6 | 156.5 | 82 | mA | 720 | mm | Pulsed | 7.83 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.05 | Gy*cm2 | 47 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.000422 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 6 | Fluoroscopy | 0.6 | 156.5 | 84 | mA | 720 | mm | Pulsed | 7.88 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.05 | Gy*cm2 | 55 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.000484 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 7 | Fluoroscopy | 0.6 | 156.5 | 82 | mA | 720 | mm | Pulsed | 7.95 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.06 | Gy*cm2 | 56 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.000506 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 7 | Fluoroscopy | 0.6 | 156.5 | 84 | mA | 720 | mm | Pulsed | 8.02 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.09 | Gy*cm2 | 98 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.00084 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 12 | Fluoroscopy | 0.6 | 156.5 | 80 | mA | 720 | mm | Pulsed | 8.17 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.11 | Gy*cm2 | 121 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.001007 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 15 | Fluoroscopy | 0.6 | 156.5 | 78 | mA | 720 | mm | Pulsed | 8.11 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.12 | Gy*cm2 | 122 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.001132 | Gy | 84.1 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 15 | Fluoroscopy | 0.6 | 156.5 | 86 | mA | 720 | mm | Pulsed | 8.17 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.53 | Gy*cm2 | 573 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.00485 | Gy | 84.1 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 69 | Fluoroscopy | 0.6 | 156.5 | 79 | mA | 720 | mm | Pulsed | 8.31 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.59 | Gy*cm2 | 682 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.005442 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 82 | Fluoroscopy | 0.6 | 156.5 | 74 | mA | 720 | mm | Pulsed | 8.32 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.64 | Gy*cm2 | 715 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.005851 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 86 | Fluoroscopy | 0.6 | 156.5 | 76 | mA | 720 | mm | Pulsed | 8.32 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.67 | Gy*cm2 | 602 | ms | - | -2.3 | deg | 0.3 | mm | deg | 0.006101 | Gy | 90.4 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 70 | Fluoroscopy | 0.6 | 156.5 | 86 | mA | 720 | mm | Pulsed | 8.6 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.69 | Gy*cm2 | 790 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.006344 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 95 | Fluoroscopy | 0.6 | 156.5 | 75 | mA | 720 | mm | Pulsed | 8.32 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.04 | Gy*cm2 | 1169 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.009497 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 140 | Fluoroscopy | 0.6 | 156.5 | 76 | mA | 720 | mm | Pulsed | 8.35 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.05 | Gy*cm2 | 55 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.000476 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 40.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 7 | Fluoroscopy | 0.6 | 156.5 | 81 | mA | 720 | mm | Pulsed | 7.9 | ms | 739.1 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.31 | Gy*cm2 | 322 | ms | - | -0.4 | deg | 0.3 | mm | deg | 0.002805 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 44.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 39 | Fluoroscopy | 0.6 | 156.5 | 81 | mA | 720 | mm | Pulsed | 8.28 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.67 | Gy*cm2 | 712 | ms | - | -0.4 | deg | 0.3 | mm | deg | 0.006078 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 44.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 85 | Fluoroscopy | 0.6 | 156.5 | 79 | mA | 720 | mm | Pulsed | 8.38 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.06 | Gy*cm2 | 50 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.000582 | Gy | 89.3 | kV | - | - | - | 8 | pulse_s | 49.6 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 6 | Fluoroscopy | 0.6 | 156.5 | 93 | mA | 720 | mm | Pulsed | 8.39 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.66 | Gy*cm2 | 654 | ms | - | 21.8 | deg | 0.7 | mm | deg | 0.005957 | Gy | 88.3 | kV | - | - | - | 8 | pulse_s | 49.6 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 77 | Fluoroscopy | 0.6 | 156.5 | 80 | mA | 720 | mm | Pulsed | 8.5 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.01 | Gy*cm2 | 7 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.00011 | Gy | 86.9 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 1 | Fluoroscopy | 0.6 | 156.5 | 132 | mA | 720 | mm | Pulsed | 7.11 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.06 | Gy*cm2 | 50 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.000525 | Gy | 87.6 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 6 | Fluoroscopy | 0.6 | 156.5 | 87 | mA | 720 | mm | Pulsed | 8.38 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.07 | Gy*cm2 | 59 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.000605 | Gy | 87.7 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 7 | Fluoroscopy | 0.6 | 156.5 | 86 | mA | 720 | mm | Pulsed | 8.45 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.07 | Gy*cm2 | 58 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.000639 | Gy | 88 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 7 | Fluoroscopy | 0.6 | 156.5 | 91 | mA | 720 | mm | Pulsed | 8.37 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.08 | Gy*cm2 | 66 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.000705 | Gy | 87.3 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 8 | Fluoroscopy | 0.6 | 156.5 | 91 | mA | 720 | mm | Pulsed | 8.33 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.15 | Gy*cm2 | 135 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.00141 | Gy | 87.6 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 16 | Fluoroscopy | 0.6 | 156.5 | 87 | mA | 720 | mm | Pulsed | 8.48 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.21 | Gy*cm2 | 230 | ms | - | 11.3 | deg | 0.6 | mm | deg | 0.001906 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 28 | Fluoroscopy | 0.6 | 156.5 | 77 | mA | 720 | mm | Pulsed | 8.23 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.22 | Gy*cm2 | 195 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.002014 | Gy | 87.7 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 23 | Fluoroscopy | 0.6 | 156.5 | 87 | mA | 720 | mm | Pulsed | 8.51 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.29 | Gy*cm2 | 531 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.002679 | Gy | 85.5 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 47 | Fluoroscopy | 0.6 | 156.5 | 86 | mA | 720 | mm | Pulsed | 11.31 | ms | 739.5 | 1072 | 0.3 | 0.3 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.4 | Gy*cm2 | 354 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.003635 | Gy | 87.8 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 41 | Fluoroscopy | 0.6 | 156.5 | 85 | mA | 720 | mm | Pulsed | 8.64 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.4 | Gy*cm2 | 356 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.00367 | Gy | 88.2 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 41 | Fluoroscopy | 0.6 | 156.5 | 85 | mA | 720 | mm | Pulsed | 8.69 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.44 | Gy*cm2 | 785 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.004016 | Gy | 86.1 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 69 | Fluoroscopy | 0.6 | 156.5 | 86 | mA | 720 | mm | Pulsed | 11.38 | ms | 739.5 | 1072 | 0.3 | 0.3 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.49 | Gy*cm2 | 442 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.004482 | Gy | 87.4 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 51 | Fluoroscopy | 0.6 | 156.5 | 84 | mA | 720 | mm | Pulsed | 8.68 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.59 | Gy*cm2 | 537 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.00544 | Gy | 87.9 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 62 | Fluoroscopy | 0.6 | 156.5 | 84 | mA | 720 | mm | Pulsed | 8.67 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.84 | Gy*cm2 | 702 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.007655 | Gy | 89 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 80 | Fluoroscopy | 0.6 | 156.5 | 88 | mA | 720 | mm | Pulsed | 8.78 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.84 | Gy*cm2 | 764 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.007707 | Gy | 87.7 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 88 | Fluoroscopy | 0.6 | 156.5 | 84 | mA | 720 | mm | Pulsed | 8.69 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.85 | Gy*cm2 | 802 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.00782 | Gy | 87.3 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 93 | Fluoroscopy | 0.6 | 156.5 | 82 | mA | 720 | mm | Pulsed | 8.63 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.94 | Gy*cm2 | 881 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.008636 | Gy | 87.5 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 102 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.64 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.03 | Gy*cm2 | 945 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.009445 | Gy | 87.4 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 109 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.67 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.13 | Gy*cm2 | 1042 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.010331 | Gy | 87.4 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 120 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.69 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.22 | Gy*cm2 | 1120 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.011128 | Gy | 87.9 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 129 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.68 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.24 | Gy*cm2 | 1131 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.011368 | Gy | 87.6 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 130 | Fluoroscopy | 0.6 | 156.5 | 84 | mA | 720 | mm | Pulsed | 8.7 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.43 | Gy*cm2 | 1304 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.013067 | Gy | 87.6 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 150 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.7 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 2.36 | Gy*cm2 | 2166 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.02157 | Gy | 87.6 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 249 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.7 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 2.75 | Gy*cm2 | 2548 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.025215 | Gy | 87.6 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 293 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.7 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 2.76 | Gy*cm2 | 2514 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.025303 | Gy | 88 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 288 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.73 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 3.45 | Gy*cm2 | 3269 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.031614 | Gy | 87.4 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 377 | Fluoroscopy | 0.6 | 156.5 | 82 | mA | 720 | mm | Pulsed | 8.67 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 5.31 | Gy*cm2 | 4998 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.0486 | Gy | 87.2 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 576 | Fluoroscopy | 0.6 | 156.5 | 82 | mA | 720 | mm | Pulsed | 8.68 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 5.78 | Gy*cm2 | 5310 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.052903 | Gy | 87.9 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 609 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.72 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 6.38 | Gy*cm2 | 5856 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.058441 | Gy | 87.8 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 671 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.73 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 8.66 | Gy*cm2 | 8044 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.079334 | Gy | 87.9 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 924 | Fluoroscopy | 0.6 | 156.5 | 82 | mA | 720 | mm | Pulsed | 8.71 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 10.22 | Gy*cm2 | 9737 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.093616 | Gy | 87.5 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 1124 | Fluoroscopy | 0.6 | 156.5 | 81 | mA | 720 | mm | Pulsed | 8.66 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 11.84 | Gy*cm2 | 11101 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.10843 | Gy | 87.8 | kV | - | - | - | 8 | pulse_s | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 1277 | Fluoroscopy | 0.6 | 156.5 | 82 | mA | 720 | mm | Pulsed | 8.69 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.15 | Gy*cm2 | 92 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.000537 | Gy | 75 | kV | - | - | - | 8 | pulse_s | 49.9 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 12 | Fluoroscopy | 0.6 | 156.5 | 73 | mA | 720 | mm | Pulsed | 7.69 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.16 | Gy*cm2 | 172 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.001432 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 49.9 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 21 | Fluoroscopy | 0.6 | 156.5 | 78 | mA | 720 | mm | Pulsed | 8.21 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.41 | Gy*cm2 | 440 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.003748 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 49.9 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 53 | Fluoroscopy | 0.6 | 156.5 | 79 | mA | 720 | mm | Pulsed | 8.31 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.5 | Gy*cm2 | 644 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.006021 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 49.9 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 76 | Fluoroscopy | 0.6 | 156.5 | 83 | mA | 720 | mm | Pulsed | 8.48 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.75 | Gy*cm2 | 778 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.006781 | Gy | 89.3 | kV | - | - | - | 8 | pulse_s | 49.9 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 92 | Fluoroscopy | 0.6 | 156.5 | 77 | mA | 720 | mm | Pulsed | 8.46 | ms | 739.5 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.44 | Gy*cm2 | 1579 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.013074 | Gy | 84 | kV | - | - | - | 8 | pulse_s | 49.9 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 189 | Fluoroscopy | 0.6 | 156.5 | 77 | mA | 720 | mm | Pulsed | 8.36 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.2 | Gy*cm2 | 192 | ms | - | 11.6 | deg | 0.5 | mm | deg | 0.001816 | Gy | 86.8 | kV | - | - | - | 8 | pulse_s | 50.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 23 | Fluoroscopy | 0.6 | 156.5 | 84 | mA | 720 | mm | Pulsed | 8.39 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.72 | Gy*cm2 | 447 | ms | - | 0.1 | deg | 0.3 | mm | deg | 0.00254 | Gy | 75.3 | kV | - | - | - | 8 | pulse_s | 50.7 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 57 | Fluoroscopy | 0.6 | 156.5 | 71 | mA | 720 | mm | Pulsed | 7.86 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.47 | Gy*cm2 | 597 | ms | - | 0.1 | deg | 0.3 | mm | deg | 0.001683 | Gy | 76.9 | kV | - | - | - | 8 | pulse_s | 50.9 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 75 | Fluoroscopy | 0.6 | 156.5 | 76 | mA | 720 | mm | Pulsed | 7.97 | ms | 847.3 | 1072 | 0.3 | 0.3 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.07 | Gy*cm2 | 86 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.000992 | Gy | 89.2 | kV | - | - | - | 8 | pulse_s | 55.9 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 10 | Fluoroscopy | 0.6 | 156.5 | 91 | mA | 720 | mm | Pulsed | 8.67 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.58 | Gy*cm2 | 520 | ms | - | 13 | deg | 0.5 | mm | deg | 0.005441 | Gy | 88.8 | kV | - | - | - | 8 | pulse_s | 60.6 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 60 | Fluoroscopy | 0.6 | 156.5 | 88 | mA | 720 | mm | Pulsed | 8.67 | ms | 714.9 | 1189 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.39 | Gy*cm2 | 332 | ms | - | -29.5 | deg | 0.2 | mm | deg | 0.003552 | Gy | 90.7 | kV | - | - | - | 8 | pulse_s | 64.4 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 38 | Fluoroscopy | 0.6 | 156.5 | 86 | mA | 720 | mm | Pulsed | 8.75 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.06 | Gy*cm2 | 50 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.00053 | Gy | 87.8 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 6 | Fluoroscopy | 0.6 | 156.5 | 88 | mA | 720 | mm | Pulsed | 8.35 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.1 | Gy*cm2 | 77 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.000864 | Gy | 88.8 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 9 | Fluoroscopy | 0.6 | 156.5 | 91 | mA | 720 | mm | Pulsed | 8.58 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.28 | Gy*cm2 | 346 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.003899 | Gy | 90.6 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 39 | Fluoroscopy | 0.6 | 156.5 | 87 | mA | 720 | mm | Pulsed | 8.87 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.28 | Gy*cm2 | 355 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.004023 | Gy | 90.5 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 40 | Fluoroscopy | 0.6 | 156.5 | 87 | mA | 720 | mm | Pulsed | 8.9 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.29 | Gy*cm2 | 356 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.00408 | Gy | 90.6 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 40 | Fluoroscopy | 0.6 | 156.5 | 88 | mA | 720 | mm | Pulsed | 8.91 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.48 | Gy*cm2 | 433 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.004366 | Gy | 87.8 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 50 | Fluoroscopy | 0.6 | 156.5 | 84 | mA | 720 | mm | Pulsed | 8.68 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 0.51 | Gy*cm2 | 481 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.004612 | Gy | 87 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 56 | Fluoroscopy | 0.6 | 156.5 | 81 | mA | 720 | mm | Pulsed | 8.6 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.02 | Gy*cm2 | 960 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.009233 | Gy | 87 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 111 | Fluoroscopy | 0.6 | 156.5 | 81 | mA | 720 | mm | Pulsed | 8.65 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 1.21 | Gy*cm2 | 1370 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.01462 | Gy | 90.5 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 155 | Fluoroscopy | 0.6 | 156.5 | 85 | mA | 720 | mm | Pulsed | 8.84 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 5.24 | Gy*cm2 | 4979 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.04739 | Gy | 86.8 | kV | - | - | - | 8 | pulse_s | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D FLUORO | 575 | Fluoroscopy | 0.6 | 156.5 | 81 | mA | 720 | mm | Pulsed | 8.66 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 14.59 | Gy*cm2 | 823 | ms | - | -27.5 | deg | 0.2 | mm | deg | 0.13144 | Gy | 96.2 | kV | - | - | - | - | - | 15.2 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 13 | Stationary Acquisition | 1 | 156.5 | 638 | mA | 720 | mm | - | 63.35 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 13.16 | Gy*cm2 | 744 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.12052 | Gy | 111 | kV | - | - | - | - | - | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 15 | Stationary Acquisition | 1 | 156.5 | 492 | mA | 720 | mm | - | 49.65 | ms | 721.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 25.18 | Gy*cm2 | 1390 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.23059 | Gy | 111 | kV | - | - | - | - | - | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 28 | Stationary Acquisition | 1 | 156.5 | 505 | mA | 720 | mm | - | 49.67 | ms | 721.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 30.29 | Gy*cm2 | 1739 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.27732 | Gy | 110.8 | kV | - | - | - | - | - | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 35 | Stationary Acquisition | 1 | 156.5 | 487 | mA | 720 | mm | - | 49.71 | ms | 721.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 33.17 | Gy*cm2 | 1989 | ms | - | -29.6 | deg | 0.1 | mm | deg | 0.30375 | Gy | 111.3 | kV | - | - | - | - | - | 34.4 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 40 | Stationary Acquisition | 1 | 156.5 | 462 | mA | 720 | mm | - | 49.75 | ms | 721.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 11.41 | Gy*cm2 | 883 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.10443 | Gy | 96 | kV | - | - | - | - | - | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 14 | Stationary Acquisition | 1 | 156.5 | 474 | mA | 720 | mm | - | 63.09 | ms | 739.1 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 31.08 | Gy*cm2 | 1839 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.2846 | Gy | 108.9 | kV | - | - | - | - | - | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 37 | Stationary Acquisition | 1 | 156.5 | 488 | mA | 720 | mm | - | 49.73 | ms | 739.1 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 40.99 | Gy*cm2 | 2488 | ms | - | 0.4 | deg | 0.4 | mm | deg | 0.37533 | Gy | 108.6 | kV | - | - | - | - | - | 40.3 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 50 | Stationary Acquisition | 1 | 156.5 | 478 | mA | 720 | mm | - | 49.78 | ms | 739.1 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 15.39 | Gy*cm2 | 883 | ms | - | -29.5 | deg | 0.2 | mm | deg | 0.13926 | Gy | 96 | kV | - | - | - | - | - | 44.4 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 14 | Stationary Acquisition | 1 | 156.5 | 633 | mA | 720 | mm | - | 63.08 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 17.05 | Gy*cm2 | 968 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.15359 | Gy | 97 | kV | - | - | - | - | - | 49.6 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 15 | Stationary Acquisition | 1 | 156.5 | 624 | mA | 720 | mm | - | 64.58 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 7.35 | Gy*cm2 | 442 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.067262 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 7 | Stationary Acquisition | 1 | 156.5 | 611 | mA | 720 | mm | - | 63.17 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 7.51 | Gy*cm2 | 441 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.06873 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 7 | Stationary Acquisition | 1 | 156.5 | 625 | mA | 720 | mm | - | 63.01 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 8.26 | Gy*cm2 | 503 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.075627 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 8 | Stationary Acquisition | 1 | 156.5 | 602 | mA | 720 | mm | - | 63 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 8.33 | Gy*cm2 | 503 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.076265 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 8 | Stationary Acquisition | 1 | 156.5 | 608 | mA | 720 | mm | - | 62.98 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 10.38 | Gy*cm2 | 629 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.095017 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 10 | Stationary Acquisition | 1 | 156.5 | 606 | mA | 720 | mm | - | 62.9 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 10.38 | Gy*cm2 | 629 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.095028 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 10 | Stationary Acquisition | 1 | 156.5 | 606 | mA | 720 | mm | - | 62.96 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 10.41 | Gy*cm2 | 629 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.095316 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 10 | Stationary Acquisition | 1 | 156.5 | 608 | mA | 720 | mm | - | 62.96 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 10.69 | Gy*cm2 | 629 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.09787 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 10 | Stationary Acquisition | 1 | 156.5 | 624 | mA | 720 | mm | - | 62.95 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 11.42 | Gy*cm2 | 692 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.1046 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 11 | Stationary Acquisition | 1 | 156.5 | 606 | mA | 720 | mm | - | 62.97 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 12.22 | Gy*cm2 | 699 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.11187 | Gy | 96.4 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 11 | Stationary Acquisition | 1 | 156.5 | 637 | mA | 720 | mm | - | 63.57 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 13.54 | Gy*cm2 | 818 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.12401 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 13 | Stationary Acquisition | 1 | 156.5 | 608 | mA | 720 | mm | - | 62.96 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 15.74 | Gy*cm2 | 945 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.14414 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 15 | Stationary Acquisition | 1 | 156.5 | 612 | mA | 720 | mm | - | 63.02 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 16 | Gy*cm2 | 945 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.14646 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 15 | Stationary Acquisition | 1 | 156.5 | 622 | mA | 720 | mm | - | 63.01 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 20.5 | Gy*cm2 | 1261 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.18768 | Gy | 96 | kV | - | - | - | - | - | 49.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 20 | Stationary Acquisition | 1 | 156.5 | 597 | mA | 720 | mm | - | 63.07 | ms | 739.5 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 11.95 | Gy*cm2 | 884 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.10821 | Gy | 96 | kV | - | - | - | - | - | 49.9 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 14 | Stationary Acquisition | 1 | 156.5 | 491 | mA | 720 | mm | - | 63.18 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 14.26 | Gy*cm2 | 1010 | ms | - | 0.7 | deg | 0.4 | mm | deg | 0.20173 | Gy | 96 | kV | - | - | - | - | - | 49.9 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 16 | Stationary Acquisition | 1 | 156.5 | 801 | mA | 720 | mm | - | 63.17 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 8.12 | Gy*cm2 | 704 | ms | - | 0.1 | deg | 0.3 | mm | deg | 0.028756 | Gy | 93.5 | kV | - | - | - | - | - | 50.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 10 | Stationary Acquisition | 0.6 | 156.5 | 290 | mA | 720 | mm | - | 70.49 | ms | 714.9 | 1072 | 0.1 | 0.1 | mm | Copper or Copper Compound | flat filter | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 6.52 | Gy*cm2 | 823 | ms | - | 0.1 | deg | 0.3 | mm | deg | 0.059002 | Gy | 96 | kV | - | - | - | - | - | 50.7 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 13 | Stationary Acquisition | 1 | 156.5 | 478 | mA | 720 | mm | - | 63.35 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 11.33 | Gy*cm2 | 694 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.1025 | Gy | 96 | kV | - | - | - | - | - | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 11 | Stationary Acquisition | 1 | 156.5 | 592 | mA | 720 | mm | - | 63.16 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 11.4 | Gy*cm2 | 768 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.16126 | Gy | 96.4 | kV | - | - | - | - | - | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 12 | Stationary Acquisition | 1 | 156.5 | 836 | mA | 720 | mm | - | 64.04 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 17.87 | Gy*cm2 | 1010 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.16164 | Gy | 96 | kV | - | - | - | - | - | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 16 | Stationary Acquisition | 1 | 156.5 | 642 | mA | 720 | mm | - | 63.13 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 13.39 | Gy*cm2 | 899 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.18942 | Gy | 96.5 | kV | - | - | - | - | - | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 14 | Stationary Acquisition | 1 | 156.5 | 837 | mA | 720 | mm | - | 64.22 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 15.21 | Gy*cm2 | 1022 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.21505 | Gy | 96.4 | kV | - | - | - | - | - | 77.3 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 16 | Stationary Acquisition | 1 | 156.5 | 838 | mA | 720 | mm | - | 63.88 | ms | 714.9 | 1072 | - | - | - | - | - | XA
2I9730032 | STILLISANO VINCENZO | M | 1963-02-11 | EMBOLIZZAZIONE#ARTERIOGRAFIA MESENTERICA SUP. O INF. | 17.38 | Gy*cm2 | 1073 | ms | - | 29.5 | deg | 0.7 | mm | deg | 0.15727 | Gy | 96 | kV | - | - | - | - | - | 77.9 | Single Plane | 3 Torace Addome Vascolare 3D DSA | 17 | Stationary Acquisition | 1 | 156.5 | 588 | mA | 720 | mm | - | 63.15 | ms | 714.9 | 1072 | - | - | - | - | - | XA